Year 1 General Science

WEEK 14: DESIGNING AND INSTALLING SOLAR PANELS IN GHANA

1. Which of the following is the first step in solar panel installation in Ghana?

A. Installing the inverter

B. Conducting a thorough site assessment

C. Mounting the solar panels on the roof

D. Connecting the wiring to the electrical system

Answer: B

2. What is the primary purpose of a site assessment before solar panel installation?

A. To determine the cost of labour

B. To evaluate solar irradiation, shading, roof orientation, and available space

C. To obtain building permits

D. To purchase solar panel equipment

Answer: B

3. Which component converts DC electricity from solar panels into AC electricity for household use?

A. Battery storage system

B. Mounting structure

C. Inverter

D. Charge controller

Answer: C

4. What does the acronym DC stand for in solar panel systems?

A. Direct Current

B. Distributed Charge

C. Dual Capacity

D. Dynamic Connection

Answer: A

5. Name three key factors considered during site assessment for solar panel installation in Ghana.

A. Solar irradiation, shading, and roof orientation

B. Building colour, neighbourhood population, and road access

C. Soil type, water availability, and vegetation

D. Climate zone, altitude, and proximity to the coast

Answer: A

6. Which of the following is NOT a component of a typical solar panel installation system?

A. Solar panels

B. Inverter

C. Air conditioning unit

D. Mounting structure

Answer: C

7. Explain why roof preparation and strengthening are necessary before installing solar panels.

A. To improve the aesthetic appearance of the building

B. To accommodate the weight of solar panels and ensure structural safety

C. To prevent rain from entering the building

D. To reduce electricity bills immediately

Answer: B

8. Which statement best describes the role of a charge controller in a solar panel system with battery storage?

A. It converts AC electricity to DC electricity

B. It manages energy storage and prevents battery overcharging

C. It measures the voltage output of the panels

D. It connects the solar panels to the electrical grid

Answer: B

9. Compare the function of a mounting structure to that of an inverter in a solar panel system.

A. Both convert sunlight into electricity

B. The mounting structure secures panels and optimises angle; the inverter converts DC to AC electricity

C. Both store electrical energy

D. The mounting structure generates electricity; the inverter stores it

Answer: B

10. Identify the main advantage of proper wiring and secure panel installation in Ghana’s solar systems.

A. It reduces the cost of solar panels

B. It prevents shadowing and limits energy losses

C. It makes the system easier to clean

D. It allows the system to work at night

Answer: B

11. Explain the relationship between Ghana’s climate conditions and the need for regular solar panel maintenance.

A. Ghana’s climate has no effect on solar panel maintenance

B. Ghana’s tropical climate with dust and humidity requires regular cleaning and inspection to maintain optimal performance

C. Solar panels in Ghana never need maintenance

D. Maintenance is only needed during the rainy season

Answer: B

12. Which of the following best explains why testing and commissioning are essential after solar panel installation?

A. To ensure the system meets performance, safety, and operational standards

B. To determine if the panels will work during cloudy days

C. To calculate the final cost of installation

D. To train workers on panel maintenance

Answer: A

13. How do regular inspections and cleaning of solar panels contribute to Ghana’s energy security?

A. They have no effect on energy security

B. They optimise system output and ensure reliable energy generation, reducing dependence on other sources

C. They prevent theft of solar panels

D. They reduce the need for grid electricity

Answer: B

14. Organise the following solar panel installation steps in the correct sequence: testing, mounting, site assessment, inverter installation, roof preparation.

A. Mounting, site assessment, roof preparation, inverter installation, testing

B. Site assessment, roof preparation, mounting, inverter installation, testing

C. Inverter installation, mounting, site assessment, roof preparation, testing

D. Roof preparation, site assessment, mounting, testing, inverter installation

Answer: B

15. Analyse why monitoring energy output regularly is critical for maintaining solar panel system efficiency in Ghana.

A. It helps identify anomalies and potential problems early, ensuring optimal performance and preventing system failures

B. It increases the amount of electricity generated

C. It reduces the need for cleaning panels

D. It has no practical benefit for system maintenance

Answer: A

16. Evaluate the trade-offs between installing solar panels on rooftops versus ground-mounted systems in Ghana.

A. Rooftop systems are always better than ground-mounted systems

B. Rooftop systems save space and reduce land use but may have shading issues; ground-mounted systems require more space but offer better sun exposure and easier maintenance

C. Ground-mounted systems are always more efficient

D. There are no differences between the two installation types

Answer: B

17. Justify why protecting solar panel systems against lightning strikes is particularly important in Ghana.

A. Lightning strikes are rare in Ghana

B. Lightning strikes do not affect solar panels

C. Ghana’s climate experiences lightning storms that pose electrical risks; surge protectors and grounding systems safeguard the system from damage and ensure safety

D. Lightning protection is unnecessary for solar systems

Answer: C

18. Explain how regular maintenance records help optimise solar panel system performance in Ghana over time.

A. Records have no impact on system performance

B. Records allow tracking of system performance trends, identifying recurring issues, planning preventive maintenance, and troubleshooting problems efficiently

C. Records are only needed for warranty purposes

D. Maintenance records increase electricity generation

Answer: B

19. Design a comprehensive solar panel maintenance plan for a Ghanaian household that addresses dust accumulation, shading issues, electrical safety, and battery health monitoring.

A. Clean panels once a year and ignore other maintenance tasks

B. Develop a schedule including regular cleaning with non-abrasive solutions, monitoring and removing shading obstacles, inspecting electrical connections for wear and corrosion, testing system performance monthly, and monitoring battery health quarterly to ensure long-term efficiency and safety

C. Solar panels require no maintenance after installation

D. Maintenance is only necessary when the system stops working

Answer: B

20. Synthesise information about Ghana’s climate, solar panel technology, and maintenance best practices to propose how a community could establish a sustainable solar panel management programme.

A. Communities cannot manage solar panel systems

B. Solar panel management is only for large corporations

C. By combining local climate knowledge, training community technicians, establishing maintenance schedules adapted to Ghana’s dust and humidity levels, creating spare parts supply chains, and developing monitoring systems, communities could ensure long-term system reliability, reduce costs, and build local expertise while promoting energy independence

D. Solar panels are too complex for community management

Answer: C

ANSWER KEY AND FEEDBACK GUIDE

Question 1: Which of the following is the first step in solar panel installation in Ghana?

Correct Answer: B (Conducting a thorough site assessment)

DoK Level: 1 (Recall and Reproduction)

Learning Indicator Assessed: Identify the initial step in solar panel installation

Feedback for Correct Response: Excellent! You correctly identified that site assessment is the foundational step. This assessment evaluates solar irradiation, shading, roof orientation, available space, and electrical infrastructure before any physical installation begins.

Feedback for Incorrect Responses:

If A (Installing the inverter): The inverter is installed later in the process, after roof preparation and panel mounting.

If C (Mounting the solar panels on the roof): Panel mounting occurs after site assessment and roof preparation.

If D (Connecting the wiring to the electrical system): Wiring connections happen after panels and inverter are installed.

Teaching Point: Solar panel installation in Ghana follows a logical sequence beginning with site assessment. This step determines the feasibility, optimal design, and location for the system, ensuring maximum efficiency and safety.

Question 2: What is the primary purpose of a site assessment before solar panel installation?

Correct Answer: B (To evaluate solar irradiation, shading, roof orientation, and available space)

DoK Level: 1 (Recall and Reproduction)

Learning Indicator Assessed: Understand the purpose of site assessment

Feedback for Correct Response: Perfect! Site assessment evaluates critical environmental and structural factors that directly influence solar panel performance and system design in Ghana’s context.

Feedback for Incorrect Responses:

If A (To determine the cost of labour): Cost estimation occurs after design, not during initial assessment.

If C (To obtain building permits): Permits are obtained after design, following site assessment.

If D (To purchase solar panel equipment): Equipment selection happens after assessment and design are complete.

Teaching Point: Site assessment is essential because it identifies the best location and orientation for panels, accounts for local shading from trees and buildings, and ensures the roof can support the system’s weight.

Question 3: Which component converts DC electricity from solar panels into AC electricity for household use?

Correct Answer: C (Inverter)

DoK Level: 1 (Recall and Reproduction)

Learning Indicator Assessed: Identify the function of an inverter in solar systems

Feedback for Correct Response: Excellent! The inverter is a critical component that converts direct current (DC) from solar panels into alternating current (AC), which is the standard form of electricity used in Ghanaian homes and businesses.

Feedback for Incorrect Responses:

If A (Battery storage system): Batteries store electrical energy but do not convert DC to AC.

If B (Mounting structure): The mounting structure holds panels in place but does not convert electricity.

If D (Charge controller): The charge controller manages battery charging but does not convert DC to AC for household use.

Teaching Point: Without an inverter, the DC electricity from solar panels cannot be used by standard household appliances. The inverter ensures compatibility between solar generation and household electrical systems.

Question 4: What does the acronym DC stand for in solar panel systems?

Correct Answer: A (Direct Current)

DoK Level: 1 (Recall and Reproduction)

Learning Indicator Assessed: Recall technical terminology in solar systems

Feedback for Correct Response: Perfect! DC (Direct Current) is the type of electricity produced by solar panels. Understanding this terminology is essential for comprehending how solar systems work.

Feedback for Incorrect Responses:

If B (Distributed Charge): This is not a standard electrical term.

If C (Dual Capacity): This is not related to solar panel electricity.

If D (Dynamic Connection): This is not the correct meaning of DC in solar systems.

Teaching Point: Solar panels generate DC electricity, which flows in one direction. This is different from AC (Alternating Current) used in homes, which is why an inverter is necessary.

Question 5: Name three key factors considered during site assessment for solar panel installation in Ghana.

Correct Answer: A (Solar irradiation, shading, and roof orientation)

DoK Level: 1 (Recall and Reproduction)

Learning Indicator Assessed: Recall key site assessment factors

Feedback for Correct Response: Great! These three factors directly determine where and how solar panels should be positioned to maximise energy generation in Ghana’s environment.

Feedback for Incorrect Responses:

If B (Building colour, neighbourhood population, and road access): While these may be relevant to other decisions, they are not primary site assessment factors for solar installation.

If C (Soil type, water availability, and vegetation): These factors are more relevant to agricultural or ground-mounted systems, not rooftop installations.

If D (Climate zone, altitude, and proximity to the coast): While climate is relevant, altitude and coastal proximity are less critical than solar irradiation and shading for rooftop systems in Ghana.

Teaching Point: Site assessment focuses on factors that directly affect solar panel performance: how much sunlight reaches the location (irradiation), what obstacles block sunlight (shading), and the optimal angle for panel placement (roof orientation).

Question 6: Which of the following is NOT a component of a typical solar panel installation system?

Correct Answer: C (Air conditioning unit)

DoK Level: 1 (Recall and Reproduction)

Learning Indicator Assessed: Identify components of solar panel systems

Feedback for Correct Response: Excellent! An air conditioning unit is not part of a solar panel system. The core components are solar panels, inverter, mounting structure, wiring, and optionally battery storage and charge controller.

Feedback for Incorrect Responses:

If A (Solar panels): Solar panels are the primary component that converts sunlight into electricity.

If B (Inverter): The inverter is essential for converting DC to AC electricity.

If D (Mounting structure): The mounting structure secures and positions the panels.

Teaching Point: Understanding the essential components of a solar system helps in planning, installation, and maintenance. Each component serves a specific function in the energy conversion and distribution process.

Question 7: Explain why roof preparation and strengthening are necessary before installing solar panels.

Correct Answer: B (To accommodate the weight of solar panels and ensure structural safety)

DoK Level: 2 (Skills and Concepts)

Learning Indicator Assessed: Explain the purpose of roof preparation

Feedback for Correct Response: Excellent reasoning! Solar panels add significant weight to a roof. Proper preparation ensures the roof structure can safely support this load without damage or collapse, protecting both the system and the building.

Feedback for Incorrect Responses:

If A (To improve the aesthetic appearance of the building): While appearance may be a consideration, structural safety is the primary reason for roof preparation.

If C (To prevent rain from entering the building): Roof preparation focuses on structural integrity, not waterproofing (though proper installation includes weatherproofing).

If D (To reduce electricity bills immediately): Roof preparation is a prerequisite for installation; it does not directly reduce bills.

Teaching Point: In Ghana’s climate, roofs must withstand both the weight of solar panels and environmental stresses. Proper preparation prevents structural failure and ensures system longevity.

Question 8: Which statement best describes the role of a charge controller in a solar panel system with battery storage?

Correct Answer: B (It manages energy storage and prevents battery overcharging)

DoK Level: 2 (Skills and Concepts)

Learning Indicator Assessed: Explain the function of a charge controller

Feedback for Correct Response: Perfect! The charge controller regulates the flow of electricity from solar panels to batteries, preventing overcharging, which can damage batteries and reduce their lifespan.

Feedback for Incorrect Responses:

If A (It converts AC electricity to DC electricity): The inverter performs this function, not the charge controller.

If C (It measures the voltage output of the panels): While monitoring occurs, the primary function is managing charge flow.

If D (It connects the solar panels to the electrical grid): This is not the charge controller’s function; it manages battery charging in off-grid systems.

Teaching Point: In systems with battery storage, the charge controller is critical for protecting batteries and optimising energy storage efficiency. It ensures batteries receive appropriate charging current based on their state of charge.

Question 9: Compare the function of a mounting structure to that of an inverter in a solar panel system.

Correct Answer: B (The mounting structure secures panels and optimises angle; the inverter converts DC to AC electricity)

DoK Level: 2 (Skills and Concepts)

Learning Indicator Assessed: Compare functions of different system components

Feedback for Correct Response: Excellent comparison! You correctly distinguished between the mechanical function (mounting) and the electrical function (inversion). Both are essential but serve different purposes.

Feedback for Incorrect Responses:

If A (Both convert sunlight into electricity): Neither component converts sunlight; solar panels do. The mounting structure positions panels, and the inverter converts electricity type.

If C (Both store electrical energy): Neither stores energy; batteries do. The mounting structure supports panels, and the inverter converts electricity.

If D (The mounting structure generates electricity; the inverter stores it): This reverses the actual functions. Panels generate electricity; the mounting structure supports them.

Teaching Point: Understanding how different components work together is essential for system design and troubleshooting. The mounting structure and inverter are complementary—one optimises generation, the other optimises usability.

Question 10: Identify the main advantage of proper wiring and secure panel installation in Ghana’s solar systems.

Correct Answer: B (It prevents shadowing and limits energy losses)

DoK Level: 2 (Skills and Concepts)

Learning Indicator Assessed: Identify advantages of proper installation practices

Feedback for Correct Response: Great insight! Proper wiring reduces electrical resistance losses, and secure mounting at the correct angle prevents shadowing, both of which maximise energy generation efficiency.

Feedback for Incorrect Responses:

If A (It reduces the cost of solar panels): Proper installation does not reduce equipment costs.

If C (It makes the system easier to clean): While accessibility may improve, the primary advantage is efficiency.

If D (It allows the system to work at night): Solar panels cannot generate electricity at night; proper installation optimises daytime generation.

Teaching Point: In Ghana’s tropical climate with variable weather and vegetation growth, proper installation and maintenance practices are critical for maintaining system efficiency over time.

Question 11: Explain the relationship between Ghana’s climate conditions and the need for regular solar panel maintenance.

Correct Answer: B (Ghana’s tropical climate with dust and humidity requires regular cleaning and inspection to maintain optimal performance)

DoK Level: 2 (Skills and Concepts)

Learning Indicator Assessed: Relate climate factors to maintenance requirements

Feedback for Correct Response: Perfect! You correctly connected Ghana’s specific climate characteristics (tropical, dusty, humid) to maintenance needs. Dust, dirt, and moisture accumulation reduce panel efficiency.

Feedback for Incorrect Responses:

If A (Ghana’s climate has no effect on solar panel maintenance): This is incorrect. Climate directly influences maintenance frequency and methods.

If C (Solar panels in Ghana never need maintenance): This is false. Regular maintenance is essential in Ghana’s environment.

If D (Maintenance is only needed during the rainy season): Maintenance is needed year-round, particularly during dry seasons when dust accumulates.

Teaching Point: Ghana’s climate—with Harmattan winds bringing dust, tropical humidity, and seasonal rainfall—creates specific maintenance challenges. Regular cleaning and inspection are essential for optimal performance.

Question 12: Which of the following best explains why testing and commissioning are essential after solar panel installation?

Correct Answer: A (To ensure the system meets performance, safety, and operational standards)

DoK Level: 2 (Skills and Concepts)

Learning Indicator Assessed: Explain the purpose of system testing

Feedback for Correct Response: Excellent! Testing and commissioning verify that all components work correctly, electrical connections are safe, and the system generates expected power output before it is put into regular use.

Feedback for Incorrect Responses:

If B (To determine if the panels will work during cloudy days): Testing assesses overall performance, not specifically cloudy-day performance.

If C (To calculate the final cost of installation): Cost calculation occurs before installation, not after.

If D (To train workers on panel maintenance): Training is separate from commissioning, though it may occur concurrently.

Teaching Point: Testing and commissioning are quality assurance steps that protect the investment, ensure safety, and establish baseline performance data for future monitoring and maintenance.

Question 13: How do regular inspections and cleaning of solar panels contribute to Ghana’s energy security?

Correct Answer: B (They optimise system output and ensure reliable energy generation, reducing dependence on other sources)

DoK Level: 2 (Skills and Concepts)

Learning Indicator Assessed: Explain how maintenance supports energy security

Feedback for Correct Response: Excellent reasoning! Regular maintenance ensures solar systems operate at peak efficiency, providing reliable, predictable energy generation that reduces Ghana’s dependence on imported fossil fuels and grid electricity.

Feedback for Incorrect Responses:

If A (They have no effect on energy security): Maintenance directly impacts system reliability and output.

If C (They prevent theft of solar panels): While security is important, this is not the primary energy security benefit.

If D (They reduce the need for grid electricity): While maintenance optimises generation, it does not eliminate grid electricity needs.

Teaching Point: Energy security depends on reliable, consistent energy supply. Well-maintained solar systems provide this reliability, strengthening Ghana’s overall energy independence.

Question 14: Organise the following solar panel installation steps in the correct sequence: testing, mounting, site assessment, inverter installation, roof preparation.

Correct Answer: B (Site assessment, roof preparation, mounting, inverter installation, testing)

DoK Level: 2 (Skills and Concepts)

Learning Indicator Assessed: Organise installation steps in logical sequence

Feedback for Correct Response: Perfect! You correctly sequenced the installation process: first assess the site, then prepare the roof, mount the panels, install the inverter, and finally test the system.

Feedback for Incorrect Responses:

If A (Mounting, site assessment, roof preparation, inverter installation, testing): Site assessment must occur first to determine feasibility.

If C (Inverter installation, mounting, site assessment, roof preparation, testing): This sequence is illogical; assessment and preparation must precede installation.

If D (Roof preparation, site assessment, mounting, testing, inverter installation): Site assessment should precede roof preparation, and inverter installation should precede testing.

Teaching Point: Following the correct installation sequence ensures efficiency, safety, and optimal system performance. Each step builds on the previous one.

Question 15: Analyse why monitoring energy output regularly is critical for maintaining solar panel system efficiency in Ghana.

Correct Answer: A (It helps identify anomalies and potential problems early, ensuring optimal performance and preventing system failures)

DoK Level: 3 (Strategic Thinking)

Learning Indicator Assessed: Analyse the importance of system monitoring

Feedback for Correct Response: Excellent analysis! Regular monitoring reveals performance trends, identifies when output drops below expected levels (indicating problems like shading, dirt, or equipment failure), and enables proactive maintenance before major failures occur.

Feedback for Incorrect Responses:

If B (It increases the amount of electricity generated): Monitoring does not increase generation; it optimises existing capacity.

If C (It reduces the need for cleaning panels): Monitoring identifies when cleaning is needed but does not replace it.

If D (It has no practical benefit for system maintenance): Monitoring is essential for identifying maintenance needs and system problems.

Teaching Point: Data-driven maintenance based on performance monitoring is more effective than fixed schedules. In Ghana’s variable climate, monitoring helps adapt maintenance to actual conditions.

Question 16: Evaluate the trade-offs between installing solar panels on rooftops versus ground-mounted systems in Ghana.

Correct Answer: B (Rooftop systems save space and reduce land use but may have shading issues; ground-mounted systems require more space but offer better sun exposure and easier maintenance)

DoK Level: 3 (Strategic Thinking)

Learning Indicator Assessed: Evaluate competing installation options

Feedback for Correct Response: Excellent evaluation! You recognised the key trade-offs: rooftop systems are space-efficient but may be shaded by nearby structures or vegetation, while ground-mounted systems require land but offer optimal sun exposure and easier maintenance access.

Feedback for Incorrect Responses:

If A (Rooftop systems are always better than ground-mounted systems): This oversimplifies; each has advantages and disadvantages depending on context.

If C (Ground-mounted systems are always more efficient): Efficiency depends on site-specific factors, not installation type alone.

If D (There are no differences between the two installation types): This is incorrect; significant differences exist in space requirements, maintenance access, and shading exposure.

Teaching Point: Effective solar system design requires evaluating site-specific factors. In Ghana, where land availability and vegetation patterns vary, both installation types may be appropriate in different contexts.

Question 17: Justify why protecting solar panel systems against lightning strikes is particularly important in Ghana.

Correct Answer: C (Ghana’s climate experiences lightning storms that pose electrical risks; surge protectors and grounding systems safeguard the system from damage and ensure safety)

DoK Level: 3 (Strategic Thinking)

Learning Indicator Assessed: Justify the importance of lightning protection

Feedback for Correct Response: Outstanding justification! You correctly identified that Ghana’s tropical climate includes frequent lightning storms, which pose significant electrical hazards to solar systems. Surge protectors and grounding systems are essential safety measures.

Feedback for Incorrect Responses:

If A (Lightning strikes are rare in Ghana): This is incorrect. Ghana experiences frequent lightning, particularly during rainy seasons.

If B (Lightning strikes do not affect solar panels): This is false. Lightning can damage electrical systems, including solar installations.

If D (Lightning protection is unnecessary for solar systems): This is dangerous misinformation. Lightning protection is critical for system safety and longevity.

Teaching Point: Ghana’s climate makes lightning protection a non-negotiable component of solar system design. Proper grounding and surge protection prevent equipment damage, fire hazards, and personal injury.

Question 18: Explain how regular maintenance records help optimise solar panel system performance in Ghana over time.

Correct Answer: B (Records allow tracking of system performance trends, identifying recurring issues, planning preventive maintenance, and troubleshooting problems efficiently)

DoK Level: 3 (Strategic Thinking)

Learning Indicator Assessed: Explain the value of maintenance documentation

Feedback for Correct Response: Excellent explanation! Maintenance records create a historical database that reveals performance patterns, helps predict when maintenance is needed, and enables rapid diagnosis of problems by showing what has been done previously.

Feedback for Incorrect Responses:

If A (Records have no impact on system performance): Records directly support performance optimisation through informed decision-making.

If C (Records are only needed for warranty purposes): While warranty documentation is important, records serve broader performance management functions.

If D (Maintenance records increase electricity generation): Records do not directly increase generation but optimise it through better maintenance planning.

Teaching Point: In Ghana’s challenging climate, detailed maintenance records are invaluable for long-term system management. They enable data-driven decisions about maintenance timing and resource allocation.

Question 19: Design a comprehensive solar panel maintenance plan for a Ghanaian household that addresses dust accumulation, shading issues, electrical safety, and battery health monitoring.

Correct Answer: B (Develop a schedule including regular cleaning with non-abrasive solutions, monitoring and removing shading obstacles, inspecting electrical connections for wear and corrosion, testing system performance monthly, and monitoring battery health quarterly to ensure long-term efficiency and safety)

DoK Level: 4 (Extended Thinking)

Learning Indicator Assessed: Synthesise knowledge to design comprehensive solutions

Feedback for Correct Response: Outstanding design! Your maintenance plan integrates all critical aspects: addresses Ghana’s dust challenges through regular cleaning, manages shading from vegetation, ensures electrical safety through inspections, and maintains battery health. This holistic approach balances efficiency, safety, and longevity.

Feedback for Incorrect Responses:

If A (Clean panels once a year and ignore other maintenance tasks): This oversimplifies maintenance. Ghana’s climate requires more frequent attention to multiple system aspects.

If C (Solar panels require no maintenance after installation): This is false and dangerous. Regular maintenance is essential.

If D (Maintenance is only necessary when the system stops working): Preventive maintenance prevents failures; reactive maintenance is costly and inefficient.

Teaching Point: Comprehensive maintenance planning requires integrating multiple maintenance tasks into a coordinated schedule. In Ghana’s environment, this includes addressing dust, vegetation, electrical safety, and energy storage—all critical for system longevity.

Question 20: Synthesise information about Ghana’s climate, solar panel technology, and maintenance best practices to propose how a community could establish a sustainable solar panel management programme.

Correct Answer: C (By combining local climate knowledge, training community technicians, establishing maintenance schedules adapted to Ghana’s dust and humidity levels, creating spare parts supply chains, and developing monitoring systems, communities could ensure long-term system reliability, reduce costs, and build local expertise while promoting energy independence)

DoK Level: 4 (Extended Thinking)

Learning Indicator Assessed: Synthesise multiple sources of information to propose innovative solutions

Feedback for Correct Response: Exceptional synthesis! Your proposal integrates Ghana-specific climate challenges, technical knowledge, workforce development, supply chain management, and monitoring systems into a comprehensive, sustainable programme. This demonstrates systems thinking and recognises how solar development can strengthen community resilience and energy independence.

Feedback for Incorrect Responses:

If A (Communities cannot manage solar panel systems): This is incorrect. Communities can successfully manage solar systems with proper training and support.

If B (Solar panel management is only for large corporations): This is incorrect. Community-based management is increasingly common and effective globally.

If D (Solar panels are too complex for community management): While technical knowledge is required, training and support enable communities to manage systems effectively.

Teaching Point: Sustainable energy transitions require building local capacity. Community-based solar management programmes create employment, reduce costs, ensure culturally appropriate maintenance practices, and strengthen energy independence while building technical expertise within Ghana.